## ENTRY
FIELD RECORD SHEET (SOP v1.0.0)
CA Department of Water Resources
Division of Environmental Services, Suisun Marsh Branch
Field Date: |  | 2019-07-01 |  |  | Arrival Time: |  | 830 |  |  | Verification Sonde:
Station Name: |  | BLL |  |  | Exchange Time: |  | 900 |  |  |  | Removed Sonde: |  | RTM-40
Performed By: |  | Moore |  |  | Departure Time: | [5 empty] | Installed Sonde:
|  |  | Arrival Sample |  |  | Pre-cleaned Sonde |  |  | Post-cleaned Sonde |  |  |  | Departure Sample
|  |  | Outgoing Sonde | Verification |  | Outgoing Sonde |  | Verification | Outgoing Sonde |  |  | Verification | Installed Sonde | Verification
Time |  | PST
Water Temperature |  | °C
Specific Conductance |  | μS/cm
Dissolved Oxygen |  | mg/L
pH |  | units
Turbidity |  | NTU
Chlorophyll |  | μg/L
|  |  | Arrival Sample |  |  |  |  | Offset |  |  |  |  | Departure Sample
|  |  | Logger | Staff |  |  |  | Arrival | Departure |  |  |  | Logger | Staff
Stage |  | ft
Notes: | Depth sensor in lab -0.013ft, batteries 13v (almost new), lab baro pressure 760.1 mmHg water temp 23.09C

## RESULT
reading_type_name | analyte_name | unit_name | time | value | cdec_code | interval_name | rank_name
a. Arrvl Sonde Reading | Temperature | °C | 2019-07-01 08:30:00 |  | BLL | Visit | Main
b. Arrvl. Verification | Temperature | °C | 2019-07-01 08:30:00 |  | BLL | Visit | Main
c. Dirty Sonde Reading | Temperature | °C | 2019-07-01 08:30:00 |  | BLL | Visit | Main
d. Dirty Verification | Temperature | °C | 2019-07-01 08:30:00 |  | BLL | Visit | Main
e. Clean Sonde Reading | Temperature | °C | 2019-07-01 08:30:00 |  | BLL | Visit | Main
f. Clean Verification | Temperature | °C | 2019-07-01 08:30:00 |  | BLL | Visit | Main
g. Dep. Sonde Reading | Temperature | °C | 2019-07-01 08:30:00 |  | BLL | Visit | Main
h. Dep. Verification | Temperature | °C | 2019-07-01 08:30:00 |  | BLL | Visit | Main
a. Arrvl Sonde Reading | Specific Conductance | μS/cm | 2019-07-01 08:30:00 |  | BLL | Visit | Main
b. Arrvl. Verification | Specific Conductance | μS/cm | 2019-07-01 08:30:00 |  | BLL | Visit | Main
c. Dirty Sonde Reading | Specific Conductance | μS/cm | 2019-07-01 08:30:00 |  | BLL | Visit | Main
d. Dirty Verification | Specific Conductance | μS/cm | 2019-07-01 08:30:00 |  | BLL | Visit | Main
e. Clean Sonde Reading | Specific Conductance | μS/cm | 2019-07-01 08:30:00 |  | BLL | Visit | Main
f. Clean Verification | Specific Conductance | μS/cm | 2019-07-01 08:30:00 |  | BLL | Visit | Main
g. Dep. Sonde Reading | Specific Conductance | μS/cm | 2019-07-01 08:30:00 |  | BLL | Visit | Main
h. Dep. Verification | Specific Conductance | μS/cm | 2019-07-01 08:30:00 |  | BLL | Visit | Main
a. Arrvl Sonde Reading | Dissolved Oxygen | mg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
b. Arrvl. Verification | Dissolved Oxygen | mg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
c. Dirty Sonde Reading | Dissolved Oxygen | mg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
d. Dirty Verification | Dissolved Oxygen | mg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
e. Clean Sonde Reading | Dissolved Oxygen | mg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
f. Clean Verification | Dissolved Oxygen | mg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
g. Dep. Sonde Reading | Dissolved Oxygen | mg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
h. Dep. Verification | Dissolved Oxygen | mg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
a. Arrvl Sonde Reading | pH | pH Units | 2019-07-01 08:30:00 |  | BLL | Visit | Main
b. Arrvl. Verification | pH | pH Units | 2019-07-01 08:30:00 |  | BLL | Visit | Main
c. Dirty Sonde Reading | pH | pH Units | 2019-07-01 08:30:00 |  | BLL | Visit | Main
d. Dirty Verification | pH | pH Units | 2019-07-01 08:30:00 |  | BLL | Visit | Main
e. Clean Sonde Reading | pH | pH Units | 2019-07-01 08:30:00 |  | BLL | Visit | Main
f. Clean Verification | pH | pH Units | 2019-07-01 08:30:00 |  | BLL | Visit | Main
g. Dep. Sonde Reading | pH | pH Units | 2019-07-01 08:30:00 |  | BLL | Visit | Main
h. Dep. Verification | pH | pH Units | 2019-07-01 08:30:00 |  | BLL | Visit | Main
a. Arrvl Sonde Reading | Turbidity | NTU | 2019-07-01 08:30:00 |  | BLL | Visit | Main
b. Arrvl. Verification | Turbidity | NTU | 2019-07-01 08:30:00 |  | BLL | Visit | Main
c. Dirty Sonde Reading | Turbidity | NTU | 2019-07-01 08:30:00 |  | BLL | Visit | Main
d. Dirty Verification | Turbidity | NTU | 2019-07-01 08:30:00 |  | BLL | Visit | Main
e. Clean Sonde Reading | Turbidity | NTU | 2019-07-01 08:30:00 |  | BLL | Visit | Main
f. Clean Verification | Turbidity | NTU | 2019-07-01 08:30:00 |  | BLL | Visit | Main
g. Dep. Sonde Reading | Turbidity | NTU | 2019-07-01 08:30:00 |  | BLL | Visit | Main
h. Dep. Verification | Turbidity | NTU | 2019-07-01 08:30:00 |  | BLL | Visit | Main
a. Arrvl Sonde Reading | Chlorophyll | μg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
b. Arrvl. Verification | Chlorophyll | μg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
c. Dirty Sonde Reading | Chlorophyll | μg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
d. Dirty Verification | Chlorophyll | μg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
e. Clean Sonde Reading | Chlorophyll | μg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
f. Clean Verification | Chlorophyll | μg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
g. Dep. Sonde Reading | Chlorophyll | μg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
h. Dep. Verification | Chlorophyll | μg/L | 2019-07-01 08:30:00 |  | BLL | Visit | Main
a. Arrvl Reading | Stage | ft | 2019-07-01 08:30:00 |  | BLL | Visit | Main
b. Arrvl. Staff Gage | Stage | ft | 2019-07-01 08:30:00 |  | BLL | Visit | Main
c. Arrvl. Offset | Stage | ft | 2019-07-01 08:30:00 |  | BLL | Visit | Main
d. Departure Offset | Stage | ft | 2019-07-01 08:30:00 |  | BLL | Visit | Main
e. Departure Reading | Stage | ft | 2019-07-01 08:30:00 |  | BLL | Visit | Main
f. Departure Staff Gage | Stage | ft | 2019-07-01 08:30:00 |  | BLL | Visit | Main

## EVENT
arrival_time | cdec_code | contact_name | event_type_name | summary_name | reason_name | departure_time | restart_time | comments
2019-07-01 08:30:00 | BLL | MOORE | Visit | summary was not specified | Wagner QAQC |  | 2019-07-01 09:00:00 | Depth sensor in lab -0.013ft, batteries 13v (almost new), lab baro pressure 760.1 mmHg water temp 23.09C

## ACTION
arrival_time | cdec_code | contact_name | event_type_name | sonde_name | location_name | action_name
2019-07-01 08:30:00 | BLL | MOORE | Visit | SM-RTM-40 | In-Situ | Removed
2019-07-01 08:30:00 | BLL | MOORE | Visit |  | In-Situ | Installed
2019-07-01 08:30:00 | BLL | MOORE | Visit |  | In-Situ | Used to verify